[image: image3.jpg]


 Learning to work safely

21/11/04

Electrical safety in building and construction: 
Building and construction: Industrial Technology 

In this activity you will learn about the potential hazards involving electricity in the work environment and suitable risk management strategies.

This material addresses aspects of the following syllabus outcomes: 

4.1.1
A student identifies and applies fundamental OH&S principles when working with materials tools and machines.

5.1.1
A student identifies, assesses and manages the risks and OH&S issues associated with the use of a range of materials, hand tools, machine tools and processes.

Extract from: Years 7–10 Industrial Technology Syllabus ( Board of Studies NSW 2003.
Dealing with potential electrical hazards in the work environment

Activity

Read the following points and complete the questions.
	When using electrical equipment you must ensure that it is correctly earthed or double insulated. 
	[image: image1.jpg]




	All electrical distribution switches and controls should be clearly marked to indicate the machinery or equipment that they serve. 
	

	Flammable material should not be stored or placed in proximity to electrical equipment. 
	

	When using ladders near overhead electrical power, one should ensure that neither metal ladders nor wire-reinforced wooden ladders, are used.
	

	Extension cords should only be used for temporary service and should be maintained in good condition. They should be routinely inspected for frayed, torn or split cords and damaged plugs or connectors. All damaged cords must be repaired or replaced immediately. 
	[image: image2.jpg]





	Avoid using electrical tools and equipment in or around damp or wet areas. 
	

	Defective power tools and electrical equipment must be immediately reported to your teacher. 
	

	Never replace a blown fuse with a larger capacity fuse.
	


1. All electrical distribution _________ and controls should be clearly __________ to indicate the machinery or equipment that they serve. 

2. ___________ material should not be stored or placed in proximity to electrical equipment.

3. Metal ladders, or wire-reinforced wooden ladders, should ____ be used in _________ to energized electrical equipment. 

4. All electrical tools and equipment must be grounded or ______ insulated. 

5. Extension cords should only be used for ________ service and should be maintained in good condition. They should be routinely __________ for frayed, torn or split cords and damaged plugs or connectors. All damaged cords must be _______ or _________ immediately. 

6. Avoid using electrical tools and equipment in or around ______ or _____ areas. 

7. Defective electrical equipment must be immediately __________ to your teacher. 

8. Never replace a blown fuse with a ________ capacity fuse. 

	[image: image4.jpg]



	Technology Unit, Curriculum K–12 Directorate, 

NSW Department of Education and Training
http://www.curriculumsupport.nsw.edu.au/technology/
	LTWS27.doc

page 2 of 2



[image: image3.jpg][image: image4.jpg]