[image: image1.jpg]


 Learning to work safely

22/11/04

Electrical safety: Preliminary Design and Technology 

In this activity you will learn about electrical safety and the workshop.

This material addresses aspects of the following syllabus outcome:

P 4.2
The student describes and uses safe working practices and correct workshop equipment maintenance techniques.

Extract from: Stage 6 Design and Technology Syllabus ( Board of Studies NSW 1999.

Electrical safety

Electricity is used to power many of the pieces of equipment used in the development of projects. Therefore it is important that the properties and safe handling of electricity are understood.

Activity

Examine the information in relation to the use of electricity on the following web site < http://www.ccohs.ca/oshanswers/safety_haz/electrical.html >
and complete the passage below by using the words from the word bank. 

	disconnect
	positively
	non-conductive
	exposed
	hazardous

	combustible
	fuse
	current
	cords
	guards

	aware
	access
	rated
	damage
	immediately


Why is it so important to work safely with or near electricity? 

The electrical ___________ in regular businesses and homes has enough power to cause death by electrocution. Even changing a light bulb without unplugging the lamp can be _____________ because coming in contact with the live part of the socket could kill a person.

What are some general safety tips for working with or near electricity? 

· Inspect tools, power cords, and electrical fittings for __________ or wear prior to each use. Repair or replace damaged equipment ____________. 

· Always tape cords to walls or floors when necessary. Nails and staples can damage  _________ causing fire and shock hazards. 

· Use cords or equipment that is __________ for the level of amperage or wattage that you are using. 

· Always use the correct size ________. Replacing a fuse with one of a larger size can cause excessive currents in the wiring and possibly start a fire. 

· Be _________ that unusually warm or hot outlets may be a sign that unsafe wiring conditions exist. Unplug any cords to these outlets and do not use until a qualified electrician has checked the wiring. 

· Always use ladders made of wood or other ____________ materials when working with or near electricity or power lines. 

· Place halogen lights away from ____________ materials such as cloth or curtains. Halogen lamps can become very hot and may be a fire hazard. 

· Label all circuit breakers and fuse boxes clearly. Each switch should be ___________ identified as to which outlet or appliance it is for. 

· Do not use outlets or cords that have ___________wiring. 

· Do not use power tools with the _________ removed. 

· Do not block _________to circuit breakers or fuse boxes. 

· Do not touch a person or electrical apparatus in the event of an electrical accident. Always __________ the current first. 

	[image: image2.jpg]



	Technology Unit, Curriculum K–12 Directorate, 

NSW Department of Education and Training
http://www.curriculumsupport.nsw.edu.au/technology/
	LTWS37.doc

page 1 of 2



[image: image1.jpg][image: image2.jpg]